[image: image1.jpg]SCIENTIFICAND MANUFACTURING FIRM , .
‘ m°3'e 3" of the experience

_and
veaps Ihe innovations

We know better what customer needs!




[image: image2.jpg]CONTACTS: 33030, Rivne, Ukraine,
Mlynivska str. 32

tel. +38 050 461 49 39, +38 050 460 04 64
e-mail: separator@prodecolog.com.ua
www.prodecolog.com







Questionnaire for water clarifier-mud collector ОМ (М)
	Characteristics of water
	

	Purpose (economical, technical, production needs, etc.)
	

	Normative document (TU, GOST)
	

	Source of water supply (urban network, open waters, underground waters)
	

	Temperature of water, C°
	

	рН
	

	Characteristics of impurities
	

	Impurities' presence (weighted material), mg/l
	

	Impurities' origin (dross, scale, clay, organics, odd items, etc.)
	

	Dimensions (maximal and minimal), mm
	

	Metal presence (total), mg/l
	

	Admissible impurities presence, mg/kg (%)
	

	Characteristics of the process
	

	Productivity, m3/h
	

	Arbitrary diameter of supplying pipeline, Dу, mm
	

	Operation pressure in the pipeline, MPa
	

	Maximal pressure in the pipeline, MPa
	

	Admissible pressure loss after installation of ОМ(М), kPa
	

	Characteristics of the place of installation
	

	Name of system (water, heating, cooling, reverse water supply, etc.)
	

	Place of installation in the system
	

	Equipment under protection
	

	Characteristics of operation conditions
	

	Temperature of environment, C°  
	

	Humidity of environment, %
	

	drawing of the place of installation*
	

	Customer information
	

	Company
	

	City, country
	

	Tel., Fax
	

	E-mail
	

	The contact person(Full name, position )
	


* - add to the questionnaire

